***STATUS*, 09/26/13**

* ***FIBER INFRASTRUCTURE:***
* All fiber cabling between the outdoor test building and tape room is complete and tested
* All fiber cabling between the tape room and GBT prime focus area is complete and tested.
* ***PAF COOLED RECEIVER:***
* All 38 cryo LNA's are outfitted with the new lot number transistors. We are currently testing selected ones in the test dewar
* ***PAF FIBER RACK:***
* Complete, and installed in the tape room. Modifications to the mixer cards are complete.
* ***PAF RACK:***
* Complete