## Sheet1
|  | USNO Status Report |  | Dec 01 to Dec 31 2014
| Station: | Pietown, NM | Mauna Kea, HI
Date | Observed | Data Transferred | Observed | Data transferred | Notes | Comments | Fit (rms in ps) | # Used | # Observed
1 | Y | Y | Y | Y | lots of bad data from MK | did not use | N/A | N/A | N/A | n4335
1 | Y | Y | Y | Y | MK 1 minor deviation | fringes not found | N/A | N/A | N/A | n4335b
2 | Y | Y | Y | Y | 1 minor deviation both sites? | 2 outliers | 18 | 24 | 26 | n4336
3 | Y | Y | Y | Y |  | 0 outliers | 45 | 26 | 26 | n4337
4 | Y | Y | Y | Y |  | 2 bogus points | 36 | 30 | 32 | n4338
5 | Y | Y | Y | Y | PT 1 minor deviation | 2 bogus points | 22 | 30 | 32 | n4339
6 | Y | Y | Y | Y | MK missing Tsys data? | 0 outliers | 28 | 32 | 32 | n4340
7 | y | y | y | y | PT 1 minor deviation | 2 bogus points | 20 | 29 | 31 | n4341
8 | Y | Y | Y | Y | PT 1 minor deviation | 2 bogus points | 15 | 29 | 31 | n4342
9 | Y | Y | Y | Y |  | 0 outliers | 30 | 31 | 31 | n4343
10 | Y | Y | Y | Y |  | 1 bogus point, 1 outlier | 19 | 32 | 34 | n4344
11 | Y | Y | Y | Y |  | 1 bogus point, 1 outlier | 14 | 31 | 33 | n4345
12 | Y | Y | Y | Y | MK 2 minor deviations | 0 outliers | 27 | 29 | 29 | n4346
13 | Y | Y | Y | Y | DBE problems both sites | did not use | N/A | N/A | N/A | n4347
13 | Y | Y | Y | Y |  | 1 outlier | 13 | 28 | 29 | n4347b
14 | Y | Y | Y | Y |  | 2 bogus points | 27 | 32 | 34 | n4348
15 | Y | Y | Y | Y |  | 3 bogus points | 16 | 30 | 33 | n4349
16 | Y | Y | Y | Y | PT 1 scan didn't copy | 1 outlier | 25 | 27 | 28 | n4350
17 | Y | Y | Y | Y |  | 1 outlier | 28 | 31 | 32 | n4351
18 | Y | Y | Y | Y |  | 2 outliers | 22 | 28 | 30 | n4352
19 | Y | Y | Y | Y | PT 1 short scan | 0 outliers | 42 | 32 | 32 | n4353
20 | Y | Y | Y | Y |  | 1 outlier | 22 | 28 | 29 | n4354
21 | Y | Y | Y | Y | PT one scan missing | 3 bogus points, 1 outlier | 26 | 28 | 32 | n4355
22 | Y | Y | Y | Y |  | 5 outliers | 10 | 22 | 27 | n4356
23 | Y | Y | Y | Y | PT 1 scan short | 1 outlier | 19 | 26 | 27 | n4357
24 | Y | Y | Y | Y | MK bad data, weather | did not use | N/A | N/A | N/A | n4358
24 | Y | Y | SC | SC | using SC due to MK weather | 1 outlier | 58 | 32 | 33 | n4358b
25 | Y | Y | SC | SC | MK bad weather, using SC | 1 outlier | 52 | 32 | 33 | n4359
26 | Y | Y | Y | Y | bad weather PT (and LA) | 0 outliers | 26 | 20 | 20 | n4360
27 | Y | Y | Y | Y | PT 4 scans didn't copy | 2 outliers | 21 | 23 | 25 | n4361
28 | Y | Y | Y | Y |  | 1 bogus point, 1 outlier | 12 | 28 | 30 | n4362
29 | N | N | N | N | PT comm outage | did not use | N/A | N/A | N/A | n4363
29 | LA | LA | Y | Y | replacement due to above | disk not yet arrived |  |  |  | n4363b
30 | Y | Y | Y | Y | MK lost a few early scans | 4 outliers | 10 | 22 | 26 | n4364
31 | Y | Y | SC | SC | high winds at MK | disk not yet arrived |  |  |  | n4365
Y= Yes
N= No
I= Incomplete, not yet copied