## Sheet1
|  | USNO Status Report |  | July 01 to July 31, 2016
| Station: | Pietown, NM | Mauna Kea, HI
Date | Observed | Data Transferred | Observed | Data transferred | Notes |  | rms (ps) | # pts | Total Scans | Deselected | Bogus | Outliers | Comments
1 | N | N | N | N | PT recording problems | n6183 | N/A | N/A | N/A | N/A | N/A | N/A | Used re-observation
1 | Y | Y | Y | Y | redo for above | n6183b | 25 | 32 | 33 | 0 | 0 | 1 | #18(1432+200) is a standard outlier
2 | Y | Y | Y | Y |  | n6184 | 18 | 31 | 31 | 0 | 0 | 0
3 | Y | Y | Y | Y |  | n6185 | 36 | 35 | 35 | 0 | 0 | 0
4 | Y | Y | Y | Y |  | n6186 | 25 | 31 | 32 | 1 | 0 | 0 | #2(1958-179) has no observation in S-band
5 | Y | Y | Y | Y |  | n6187 | 18 | 32 | 34 | 2 | 0 | 0 | #3(1754+155) & #4(1736+324) both have 0-codes on both bands.
6 | Y | Y | Y | Y |  | n6188 | 31 | 31 | 31 | 0 | 0 | 0
7 | N | N | N | N | operator error, not run | n6189 | N/A | N/A | N/A | N/A | N/A | N/A | Used re-observation
7 | Y | Y | Y | Y |  | n6189b | 25 | 31 | 31 | 0 | 0 | 0
8 | Y | Y | Y | Y |  | n6190 | 20 | 30 | 31 | 1 | 0 | 0 | #15(1013+054) has 0-codes on both bands.
9 | Y | Y | Y | Y |  | n6191 | 22 | 33 | 33 | 0 | 0 | 0
10 | Y | Y | Y | Y |  | n6192 | 21 | 32 | 32 | 0 | 0 | 0
11 | Y | Y | Y | Y |  | n6193 | 14 | 30 | 30 | 0 | 0 | 0
12 | Y | Y | Y | Y |  | n6194 | 26 | 33 | 33 | 0 | 0 | 0
13 | Y | Y | Y | Y |  | n6195 | 20 | 27 | 30 | 1 | 0 | 2 | #4(1954-388) has 0-codes on both bands. #0(1746+470) & #17(IIIZW2) are standard outliers.
14 | Y | Y | Y | Y | no fringes (PT DBE issues) | n6196 | N/A | N/A | N/A | N/A | N/A | N/A | No fringes found.
15 | Y | Y | Y | Y |  | n6197 | 29 | 32 | 32 | 0 | 0 | 0
16 | Y | Y | Y | Y | PT 1 minor deviation (missed 6 scans) | n6198 | 12 | 27 | 27 | 0 | 0 | 0
17 | N | N | N | N | MK DBE problems | n6199 | N/A | N/A | N/A | N/A | N/A | N/A | Used re-observation
17 | Y | Y | Y | Y | redo for above | n6199b | 20 | 27 | 32 | 2 | 0 | 3 | #16(1451-375) & #17(1406-267) both have 0-codes on both bands. #1(0454+844), #12(1125+366), & #18(1432+200) are standard outliers.
18 | Y | Y | Y | Y | PT 1 minor deviation | n6200 | 15 | 30 | 33 | 1 | 0 | 2 | #11(2335-027) has an H-code (low phase cal tone) on the S-band observation, #22(IIIZW2) & #29(0454+844) are standard outliers.
19 | Y | Y | Y | Y |  | n6201 | 30 | 33 | 34 | 1 | 0 | 0 | #4(1954-388) has 0-codes on both bands.
20 | Y | Y | Y | Y |  | n6202 | 24 | 32 | 32 | 0 | 0 | 0
21 | Y | Y | Y | Y |  | n6203 | 17 | 30 | 31 | 1 | 0 | 0 | #4(1424-418) has 0-codes on both bands.
22 | Y | Y | Y | Y |  | n6204 | 31 | 34 | 35 | 0 | 0 | 1 | #29(1722+330) is a standard outlier
23 | Y | Y | Y | Y |  | n6205 | 33 | 32 | 32 | 0 | 0 | 0
24 | Y | Y | Y | Y | PT 1 minor deviation | n6206 | 26 | 27 | 29 | 0 | 0 | 2 | #(0718+793) & #(1351-018) are both standard outliers
25 | Y | Y | Y | Y |  | n6207 | 15 | 33 | 34 | 0 | 0 | 1 | #1(1342+662) is a standard outlier
26 | Y | Y | Y | Y |  | n6208 | 12 | 31 | 34 | 3 | 0 | 0 | #9(2243+047), #13(1909+161), & #17(2227-088) have 0-codes on both bands
27 | Y | Y | Y | Y |  | n6209 | 21 | 32 | 32 | 0 | 0 | 0
28 | Y | Y | Y | Y | MK 1 minor deviation | n6210 | 34 | 27 | 31 | 4 | 0 | 0 | #0(0454+844), #3(1255-316), & #4(1424-418) have 0-codes on both bands, #22(0602+673) has a 0-code on S band.
29 | Y | Y | Y | Y |  | n6211 | 36 | 33 | 33 | 0 | 0 | 0
30 | Y | Y | Y | Y |  | n6212 | 25 | 35 | 37 | 1 | 0 | 1 | #18(1125+366) has a 0-code on the S-band, #25(1659+399) is a standard outlier
31 | Y | Y | Y | Y |  | n6213 | 24 | 34 | 34 | 0 | 0 | 0
Y= Yes
N= No
I= Incomplete, not yet copied