## Sheet1
|  | USNO Status Report |  | July 01 to July 31, 2017
| Station: | Pietown, NM | Mauna Kea, HI
Date | Observed | Data Transferred | Observed | Data transferred | Notes | Interrupt? |  | rms (ps) | # pts | Total Scans | Deselected | Bogus | Outliers | USNO Comments
1 | Y | Y | Y | Y | MK 1 minor deviation |  | n7182 | 34 | 56 | 59 | 2 | 0 | 1 | #2(1451-375) has 0-codes on both bands. #3(1424-418) has a 0-code on X-band. #37(1406-267) is an outlier.
2 | Y | Y | Y | Y |  |  | n7183 | 26 | 61 | 64 | 1 | 0 | 2 | #40(1125+366) has a 0-code on S-band. #44(1053+704) & #46(1424+366) are outliers.
3 | Y | Y | Y | Y |  |  | n7184 | 36 | 62 | 62 | 0 | 0 | 0
4 | Y | Y | Y | Y |  |  | n7185 | 23 | 63 | 64 | 1 | 0 | 0 | #2(1351-018) has an H-code on S-band channels e&f.
5 | Y | Y | Y | Y |  |  | n7186 | 22 | 55 | 59 | 3 | 0 | 1 | #8(1846+322) has 0-codes on both bands. #24(2059+034) & #46(2059+034) have G-codes on S-band. #19(1722+330) is an outlier.
6 | Y | Y | Y | Y |  |  | n7187 | 35 | 58 | 59 | 0 | 0 | 1 | #26(1451-375) is an outlier.
7 | Y | Y | Y | Y |  |  | n7188 | 29 | 59 | 61 | 1 | 0 | 1 | #27(IIIZW2) has a 0-code on S-band. #44(1418+546) is an outlier.
8 | Y | Y | Y | Y |  |  | n7189 | 24 | 59 | 60 | 0 | 0 | 1 | #48(1125+366) is an outlier.
9 | Y | Y | Y | Y |  |  | n7190 | 26 | 60 | 63 | 0 | 0 | 3 | #5(1013+054), #38(1348+308), & #41(1125+366) are outliers.
10 | Y | Y | Y | Y | PT 4cm cooling, raining too |  | n7191 | 21 | 64 | 70 | 1 | 0 | 5 | #2(1351-018) has a G-code on S-band due to low amplitude on channel d. #0(1519-294), #23(1519-294), #25(0454+844), #31(1226+373), & #57(1736+324) are outliers.
10 | LA | LA | Y | Y | redo for above; LA DBE problems |  | n7191b | N/A | N/A | N/A | N/A | N/A | N/A | First experiment was deemed sufficient.
11 | Y | Y | Y | Y |  |  | n7192 | 28 | 62 | 64 | 2 | 0 | 0 | #20(2243+047) has an H-code on S-band channel f. #25(1308+554) has a 0-code on X-band.
12 | Y | Y | Y | Y |  | Y | n7193 | 41 | 63 | 65 | 0 | 0 | 2 | #1(1451-375) & #49(0800+618) are outliers.
13 | Y | Y | Y | Y |  |  | n7194 | 46 | 61 | 62 | 0 | 0 | 1 | #13(0622-253) is an outlier.
14 | Y | Y | Y | Y |  |  | n7195 | 28 | 60 | 60 | 0 | 0 | 0
15 | Y | Y | Y | Y |  |  | n7196 | 23 | 64 | 66 | 2 | 0 | 0 | #18(1308+554) & #39(1308+554) have 0-codes on the X-band.
16 | Y | Y | Y | Y |  |  | n7197 | 35 | 66 | 67 | 1 | 0 | 0 | #33(1424+366) has an H-code on S-band channel e.
17 | Y | Y | Y | Y |  | Y | n7198 | 40 | 59 | 63 | 3 | 0 | 1 | #5(1451-375) has a G-code on S-band channel d. #10(NRAO512) & #11(1636+473) have 0-codes on both bands. #51(1125+366) is an outlier.
18 | Y | Y | Y | Y |  | Y | n7199 | 25 | 59 | 62 | 1 | 0 | 2 | #6(1125+366) has a 0-code on S-band. #29(1125+366) & #42(1608+243) are outliers.
19 | Y | Y | Y | Y |  | Y | n7200 | 38 | 59 | 61 | 0 | 0 | 2 | #1(1059+282) & #21(1059+282) are very slight outliers.
20 | Y | Y | Y | Y | 1 minor deviation both sites |  | n7201 | 25 | 65 | 68 | 0 | 0 | 3 | #11(1736+324), #41(1550-242), & #46(0454+844) are outliers.
21 | Y | Y | Y | Y | PT some recorder issues |  | n7202 | 32 | 49 | 51 | 2 | 0 | 0 | PT missed the first 10 scans. Scan No0042(1125+366) & Scan No0064(1125+366) have 0-codes on the S-band.
22 | Y | Y | SC | SC | MK Mk5c problems | Y | n7203 | 41 | 60 | 63 | 1 | 0 | 2 | #21(IIIZW2) has a 0-code on S-band. #0(2215+020) & #27(1357+769) are outliers.
23 | y | y | SC | SC | PT missed first couple scans |  | n7204 | 41 | 57 | 61 | 1 | 0 | 3 | #17(IIIZW2) has a 0-code on S-band. #0(0602+673), #3(0718+793), & #7(1745+624) are outliers.
24 | Y | Y | SC | SC |  |  | n7205 | 49 | 63 | 63 | 0 | 0 | 0
25 | Y | Y | SC | SC |  |  | n7206 | 50 | 62 | 66 | 0 | 0 | 4 | #0(2214+350), #15(1502+036), #24(0059+581), & #43(1722+330) are outliers.
26 | Y | Y | SC | SC |  |  | n7207 | 47 | 57 | 60 | 0 | 0 | 3 | #9(0111+021), #12(1053+815), & #22(NGC6251) are outliers.
27 | Y | Y | SC | SC |  |  | n7208 | 51 | 64 | 66 | 1 | 0 | 1 | #8(2059+034) has 0-codes on both bands. #23(1053+815) is an outlier.
28 | Y | Y | SC | SC | PT 2 minor deviations |  | n7209 | 51 | 62 | 67 | 5 | 0 | 0 | #2(2059+034), #3(2141+175), #5(1053+815) have 0-codes on both bands. #5(1623+578) & #10(2319+444) have 0-codes on S-band.
29 | Y | Y | Y | Y |  |  | n7210 | 23 | 59 | 63 | 1 | 0 | 3 | #32(0047+023) has a 0-code on the S-band. #12(3C418), #48(1722+330), & #53(1357+769) are outliers.
30 | Y | Y | Y | Y |  |  | n7211 | 34 | 61 | 64 | 0 | 0 | 3 | #9(1736+324), #30(1736+324), & #35(1519-273) are outliers.
31 | Y | Y | Y | Y | PT first few minutes timing errors | Y | n7212 | 23 | 57 | 59 | 1 | 0 | 1 | #5(3C418) has 0-codes on both bands. #57(1308+554) is an outlier.
Y= Yes
N= No
I= Incomplete, not yet copied