## Sheet1
|  | USNO Status Report |  | July 01 to July 31, 2018
| Station: | Pietown, NM | Mauna Kea, HI
Date | Observed | Data Transferred | Observed | Data transferred | Notes | Interrupt? |  | rms (ps) | # pts | Total Scans | Deselected | Bogus | Outliers | USNO Comments
1 | Y | Y | Y | Y |  | Y | n8182 | 23.7 | 62 | 63 | 1 | 0 | 0 | No30(1741-038) has an H-code due to low phase-cal amplitude on S-band channels e-f & a G-code due to low fringe amplitude on X-band channel o.
2 | Y | Y | Y | Y |  | Y | n8183 | 31.5 | 60 | 61 | 1 | 0 | 0 | No43(1736+324) has an H-code due to low phase-cal amplitude on S-band channels e-f.
3 | Y | Y | Y | Y |  |  | n8184 | 34.6 | 62 | 63 | 1 | 0 | 0 | No13(1520+319) has an H-code due to low phase-cal amplitude on S-band channels e-f.
4 | LA | LA | Y | Y | LA 1 minor deviation |  | n8185 | 26.7 | 52 | 54 | 1 | 0 | 1 | No40(1800+440) has low quality codes (S:4, X:5). No24(1015+057) is an outlier.
5 | LA | LA | Y | Y | LA pack problems, Xcube copy |  | n8186 | 20.2 | 58 | 63 | 4 | 0 | 1 | No02 is missing. No04(1616+063) & No41(1754+155) have 0-codes on both bands. No30(2243+047) has a 0-code on S-band. No19(3C418) is an outlier.
6 | Y | Y | Y | Y | MK 1 minor deviation | Y | n8187 | 32.7 | 52 | 60 | 8 | 0 | 0 | Nos02-09 were missed at MK.
7 | Y | Y | Y | Y |  |  | n8188 | 33.3 | 58 | 60 | 1 | 0 | 1 | No37(0717+782) has a G-code due to low fringe amplitude on X-band channel p. No53(1736+324) is an outlier.
8 | Y | Y | Y | Y |  | Y | n8189 | 34.3 | 63 | 65 | 2 | 0 | 0 | No03(1149-084) has a G-code due to low fringe amplitude on S-band channel e. No19(1741-038) has an H-code due to low phase-cal amplitude on S-band channels e-f.
9 | Y | Y | Y | Y |  | Y | n8190 | 35.6 | 63 | 64 | 0 | 0 | 1 | No30(1145+268) is an outlier.
10 | Y | Y | Y | Y |  |  | n8191 | 39.9 | 58 | 61 | 1 | 0 | 2 | No08(1759-396) has 0-codes on both bands. No29(1659+399) & No55(1615+029) are outliers.
11 | Y | Y | Y | Y | MK 1 minor deviation |  | n8192 | 39 | 63 | 63 | 0 | 0 | 0 | -
12 | Y | Y | Y | Y |  |  | n8193 | 20.4 | 63 | 66 | 0 | 0 | 3 | No28(1013+127), No46(1657-261), & No64(1339-287) are outliers.
13 | Y | Y | Y | Y |  |  | n8194 | 26.7 | 62 | 62 | 0 | 0 | 0 | -
14 | Y | Y | Y | Y |  |  | n8195 | 27.9 | 61 | 64 | 2 | 0 | 1 | No16(2149+056) has an H-code due to low phase-cal amplitude on S-band channel f. No27(2127-096) has an H-code due to low phase-cal amplitude on S-band channels e&f. No12(1424+366) is an outlier.
15 | Y | Y | Y | Y | 1 minor deviation both |  | n8196 | 47.2 | 63 | 63 | 0 | 0 | 0 | -
16 | N | N | N | N | PT power outage |  | n8197 | N/A | N/A | N/A | N/A | N/A | N/A | Used the re-observation.
16 | LA | LA | Y | Y | substitute for above |  | n8197b | 27.8 | 62 | 66 | 3 | 0 | 1 | No02 is missing. No05(1954-388) has 0-codes on both bands. No37(2215+020) has a 0-code on S-band. No47(3C418) is an outlier.
17 | Y | Y | Y | Y | PT 1 minor deviation |  | n8198 | 44.9 | 61 | 63 | 2 | 0 | 0 | No02 is missing. No33(0047+023) has a 0-code on S-band.
18 | Y | Y | SC | SC | MK 4cm warm |  | n8199 | 64.7 | 63 | 64 | 1 | 0 | 0 | No65(1550-242) has a 0-code on S-band.
19 | Y | Y | Y | Y | 1 minor deviation both |  | n8200 | 32.7 | 69 | 69 | 0 | 0 | 0 | -
20 | Y | Y | Y | Y |  |  | n8201 | 28.9 | 62 | 67 | 3 | 0 | 2 | MK missed No44. No10(1705+018) & No32(1741-038) have H-codes due to low phase-cal amplitude on S-band channels e&f. No40(1451-375) & No56(0454+844) are outliers.
21 | Y | Y | Y | Y |  | Y | n8202 | 57.5 | 63 | 63 | 0 | 0 | 0 | -
22 | Y | Y | Y | N | MK DBE problems |  | n8203 | N/A | N/A | N/A | N/A | N/A | N/A | No fringes found.
22 | N | N | N | N | scheduled but not run? |  | n8203b | N/A | N/A | N/A | N/A | N/A | N/A | No observation.
23 | Y | Y | Y | Y | PT failed? MK 1 minor dev. | Y | n8204 | 33.7 | 49 | 62 | 12 | 0 | 1 | MK missed the first two scans and PT missed scans No02-12. No30(2143-156) has an H-code due to low phase-cal amplitude on S-band channels e&f. No62(1308+554) is an outlier.
23 | Y | Y | Y | Y | checkut1 not run | Y | n8204b | N/A | N/A | N/A | N/A | N/A | N/A | Used the original observation.
24 | Y | Y | Y | Y | PT bad data? |  | n8205 | 34.1 | 61 | 64 | 1 | 0 | 2 | No33(2243+047) has a 0-code on S-band. No42(1308+554) & No45(1357+769) are outliers.
24 | Y | Y | Y | Y | checkut1 not run PT |  | n8205b | N/A | N/A | N/A | N/A | N/A | N/A | Used the original observation.
25 | N | N | N | N | PT 13cm warm, LA not available |  | n8206 | N/A | N/A | N/A | N/A | N/A | N/A | Observation canceled due to PT cryo. LA out for maintenance.
26 | Y | Y | Y | Y | MK 1 minor deviation |  | n8207 | 26.7 | 60 | 63 | 1 | 0 | 2 | No49(3C274) has a G-code due to low fringe amplitude on S-band channel d. No21(1406-267) & No60(1424+366) are outliers.
27 | Y | Y | Y | Y | PT 1 minor deviation |  | n8208 | 50.2 | 62 | 62 | 0 | 0 | 0 | -
28 | N | N | N | N | PT unusable, LA unusable | Y | n8209 | N/A | N/A | N/A | N/A | N/A | N/A | Observation canceled due to failure of PT elevation motors. LA out for maintenance.
29 | Y | Y | Y | Y |  |  | n8210 | 43.9 | 61 | 62 | 1 | 0 | 0 | No0016(1736+324) was missing.
30 | N | N | N | N | PT unusable, LA unusable |  | n8211 | N/A | N/A | N/A | N/A | N/A | N/A | Observation canceled due to failure of PT elevation motors. LA out for maintenance.
31 | SC | SC | Y | Y |  |  | n8212 | 33.8 | 44 | 76 | 30 | 0 | 2 | Nos 03, 05, 07, 09, 11, 13, 15, 61, & 64 are 0-codes in fringing (likely X-band). Nos 65-77 are missing from SC. No16(NGC6251), No23(1725+123), No27(1923+210), No35(1657-261), No39(1357+769), No40(NGC6251), & No44(1754+155) had a 0-code on S-band. No63(1357+769) has 0-codes on both bands. No14(1608+243) & No20(1929+226) are outliers.
31 | SC | SC | Y | Y | repeat, probably not needed |  | n8212b | 53.9 | 68 | 76 | 8 | 0 | 0 | No07(0454+844), No27(0454+844), & No31(1823+689) had a 0-code on X-band. No24(2243+047), No38(2215+020), No42(1923+210), & No71(1923+210) had a 0-code on S-band. No59(2318+049) has an H-code due to low phase-cal amplitude on S-band channel f and a G-code due to low fringe amplitude on X-band channel o.
Y= Yes
N= No
I= Incomplete, not yet copied