## Sheet1
|  | USNO Status Report |  | October 01 - 31, 2018
| Station: | Pietown, NM | Mauna Kea, HI
Date | Observed | Data Transferred | Observed | Data transferred | Notes | Interrupt? |  | VLBA Comments | rms (ps) | # pts | Total Scans | Deselected | Bogus | Outliers | USNO Comments
1 | Y | Y | Y | Y |  |  | n8274 | no fringes | N/A | N/A | N/A | N/A | N/A | N/A | Fringes not found.
2 | LA | LA | Y | Y |  |  | n8275 |  | 22.1 | 59 | 64 | 3 | 0 | 2 | No24(1749+096) has 0-codes on both bands. No31(0047+023) & No41(2013+163) has a 0-code on S-band. No08(3C418) & No40(1357+769) are outliers.
3 | LA | LA | Y | Y |  |  | n8276 |  | N/A | N/A | N/A | N/A | N/A | N/A | Fringes not found.
4 | LA | N | N | N | Not run, MK problems |  | n8277 |  | N/A | N/A | N/A | N/A | N/A | N/A | Used reobservation. "Trouble with the MK MCB."
4 | LA | LA | SC | SC |  |  | n8277b |  | 50.2 | 61 | 63 | 1 | 0 | 1 | No37(0434-188) has a 0-code on X-band. No23(NGC6251) is an outlier.
5 | Y | Y | Y | Y |  |  | n8278 | fringes found | 23.8 | 54 | 59 | 2 | 0 | 3 | No19(2355-106) & No27(0019+058) have H-codes due to low phase-cal amplitude on S-band channels e&f. No06(1418+546), No24(1520+437), & No47(1357+769) are outliers.
6 | Y | Y | Y | Y |  |  | n8279 |  | N/A | N/A | N/A | N/A | N/A | N/A | Fringes not found.
7 | Y | Y | Y | Y |  |  | n8280 |  | 38.6 | 60 | 62 | 2 | 0 | 0 | No17(0256-005) has an H-code due to low phase-cal amplitude on S-band channels e&f. No58(2143-156) has a G-code due to low fringe amplitude on S-band channel d.
8 | Y | Y | Y | Y | raining both sites |  | n8281 |  | 53.6 | 59 | 60 | 1 | 0 | 0 | No36(1357+769) has a 0-code on S-band.
9 | Y | Y | Y | Y |  |  | n8282 |  | 26.5 | 65 | 69 | 4 | 0 | 0 | No13(1954-388) & No17(1921-293) have 0-codes on both bands. No26(2243+047) has a 0-code on S-band. No37(2318+049) has an H-code due to low phase-cal amplitude on S-band channels e&f.
10 | Y | Y | Y | Y | 1 minor deviation MK |  | n8283 |  | 20.8 | 58 | 67 | 4 | 0 | 5 | No23(2243+047) has a 0-code on S-band. No24(1308+554) has a 0-code on X-band. No29(2318+049) has an H-code due to low phase-cal amplitude on S-band channels e&f. No67(1736+324) has an H-code due to low phase-cal amplitude on S-band channel d. No03(1308+554), No15(1428+370), No38(1424+366), No47(1308+554), & No68(1722+330) are outliers.
11 | Y | Y | Y | Y |  |  | n8284 |  | 22.5 | 59 | 61 | 1 | 0 | 1 | No20(2318+049) has an H-code due to low phase-cal amplitude on S-band channels e&f. No09(2227-088) is an outlier.
12 | Y | Y | Y | Y | 1 minor deviation PT |  | n8285 |  | 36.5 | 63 | 65 | 1 | 0 | 1 | No11(2143-156) has a G-code due to low fringe amplitude on S-band channel d. No50(0119+115) is an outlier.
13 | Y | Y | Y | Y | MK wind, rain |  | n8286 |  | 30.1 | 60 | 63 | 2 | 0 | 1 | No35(0420+022) has an H-code due to low phase-cal amplitude on S-band channels e&f. No64(IIIZW2) has a 0-code on S-band. No53(0119+115) is an outlier.
14 | Y | Y | Y | Y | MK rain |  | n8287 |  | 62.6 | 55 | 59 | 4 | 0 | 0 | No07(1908-201) has 0-codes on both bands. No40(0111+021) & No41(0055-059) have an H-code due to low phase-cal amplitude on S-band channels e&f. No45(1659+399) has a 0-code on S-band.
15 | Y | Y | Y | Y | PT rain |  | n8288 |  | 39.5 | 62 | 64 | 2 | 0 | 0 | No33(2335-027) has an H-code due to low phase-cal amplitude on S-band channels e&f and a G-code due to low fringe amplitude on X-band channel o. No34(IIIZW2) has a 0-code on S-band.
16 | Y | Y | Y | Y | 1 minor deviation MK |  | n8289 |  | 27.9 | 58 | 62 | 2 | 0 | 2 | No35(CTA26) & No36(0332+078) have an H-code due to low phase-cal amplitude on S-band channels e&f. No46(1357+769) & No56(0119+115) are outliers.
17 | Y | Y | Y | Y |  |  | n8290 |  | 28.1 | 61 | 63 | 2 | 0 | 0 | No38(0119+041) & No39(0111+021) have an H-code due to low phase-cal amplitude on S-band channels e&f.
18 | Y | Y | Y | Y |  |  | n8291 |  | 41.2 | 60 | 63 | 3 | 0 | 0 | No04(1954-388) has 0-codes on both bands. No33(2335-027) has an H-code due to low phace-cal amplitude on S-band channels e&f. No42(IIIZW2) has a 0-code on S-band.
19 | Y | Y | Y | Y |  |  | n8292 |  | 25.6 | 55 | 60 | 3 | 0 | 2 | No21(1659+399) has a 0-code on S-band. No36(0119+041) & No37(0111+021) have an H-code due to low phase-cal amplitude on S-band channels e&f. No19(2216+178) & No46(1357+769) are outliers.
20 | Y | Y | Y | Y |  |  | n8293 |  | 33.4 | 57 | 60 | 2 | 0 | 1 | No18(1357+769) has a 0-code on S-band. No24(CTA26) has an H-code due to low phase-cal amplitude on S-band channels e&f. No57(0119+115) is an outlier.
21 | Y | Y | Y | Y | 1 minor deviation PT |  | n8294 |  | 53.2 | 57 | 60 | 3 | 0 | 0 | No30(1357+769) has a 0-code on X-band. No34(IIIZW2) & No55(1357+769) have a 0-code on S-band.
22 | Y | Y | Y | Y |  |  | n8295 |  | 39.7 | 62 | 62 | 0 | 0 | 0 | -
23 | Y | Y | Y | Y | MK probably bad? |  | n8296 |  | 30.6 | 54 | 59 | 5 | 0 | 0 | No08 & No60 were not correlated. No10(1357+769), No36(1357+769), & No59(1357+769) have a 0-code on S-band.
23 | Y | Y | Y | Y | redo for above | Y | n8296b |  | N/A | N/A | N/A | N/A | N/A | N/A | Used original observation. MK worked well enough.
24 | Y | Y | Y | Y |  |  | n8297 |  | 28.8 | 60 | 63 | 3 | 0 | 0 | No33(1958-179) has a G-code due to low fringe amplitude on S-band channel d. No35(0215+015) has an H-code due to low phase-cal amplitude on S-band channels e&f. No52(1357+769) has a 0-code on S-band.
25 | Y | Y | Y | Y |  |  | n8298 |  | 25.7 | 59 | 66 | 6 | 0 | 1 | No29(1954-388) & No67(1749+096) are missing. No09(2335-027) & No41(0019+058) have an H-code due to low phase-cal amplitude on S-band channels e&f. No17(IIIZW2) & No42(IIIZW2) have a 0-code on S-band. No06(3C418) is an outlier.
26 | Y | Y | Y | Y |  |  | n8299 |  | 21.9 | 57 | 62 | 4 | 0 | 1 | Missing No63(2013+163). No15(2335-027) has a G-code due to low fringe amplitude on X-band channel o. No34(0003-066) had an H-code due to low phase-cal amplitude on S-band channels e&f. No51(1357+769) has a 0-code on S-band. No08(3C418) is an outlier.
27 | Y | Y | Y | Y |  |  | n8300 |  | 25.9 | 59 | 63 | 4 | 0 | 0 | No07(1908-201) has 0-codes on both bands. No08(1920-211) has a 0-code on X-band. No47(0119+041) & No48(0111+021) had an H-code due to low phase-cal amplitude on S-band channels e&f.
28 | Y | Y | Y | Y |  |  | n8301 |  | 31.1 | 60 | 65 | 5 | 0 | 0 | Missing No66(IIIZW2). No16(0054+161) has 0-codes on both bands. No35(2143-156) & No55(2143-156) had a G-code due to low fringe amplitude on S-band channel d. No62(1357+769) has a 0-code on S-band.
29 | Y | Y | Y | Y |  |  | n8302 |  | 19.7 | 59 | 64 | 4 | 0 | 1 | Missing No65(2113+293). No07(1908-201) has 0-codes on both bands. No39(0119+041) & No40(0111+021) had an H-code due to low phase-cal amplitude on S-band channels e&f. No42(1659+399) is an outlier.
30 | Y | Y | Y | Y |  |  | n8303 |  | 47.7 | 63 | 65 | 2 | 0 | 0 | No28(2356+385) has a G-code due to low fringe amplitude on S-band channels e&f. No52(1357+769) has a 0-code on S-band.
31 | Y | Y | Y | Y | PT recorder problems | Y | n8304 |  | N/A | N/A | N/A | N/A | N/A | N/A | Used reobservation.
31 | LA | LA | Y | Y | redo for above | Y | n8304b |  | 60.9 | 66 | 66 | 0 | 0 | 0 | -
Y= Yes
N= No
I= Incomplete, not yet copied