## Sheet1
|  | USNO Status Report |  | Feb 01 to Feb 28, 2019
| Station: | Pietown, NM | Mauna Kea, HI
Date | Observed | Data Transferred | Observed | Data transferred | Notes | Interrupt? |  | rms (ps) | # pts | Total Scans | Deselected | Outliers | USNO Comments
1 | Y | Y | Y | Y |  |  | n9032 | 27.6 | 58 | 60 | 1 | 1 | No06(0422-380) has 0-codes on both bands. No51(0229+131) is an outlier.
2 | Y | Y | Y | Y |  |  | n9033 | 39.5 | 63 | 66 | 1 | 2 | No30(IIIZW2) has a 0-code on S-band. No02(0119+115) & No59(0229+131) are outliers.
3 | Y | Y | Y | Y |  |  | n9034 | 30.7 | 65 | 68 | 2 | 1 | No18(0442+389) has a G-code due to low fringe amplitude on X-band channel o. No44(0442+389) has an H-code due to low phase-cal amplitude on S-band channels e&f. No68(0229+131) is an outlier.
4 | Y | Y | Y | Y |  |  | w19035 | N/A | N/A | N/A | N/A | N/A | Replaced by a 'w' session.
5 | Y | Y | Y | Y |  |  | n9036 | 43.8 | 62 | 65 | 1 | 2 | No35(0808+019) has an H-code due to low phase-cal amplitude on S-band channels e&f and a G-code due to low fringe amplitude on X-band channel o. No04(2319+317) & No18(2358+189) are outliers.
6 | Y | Y | Y | Y |  |  | w19037 | N/A | N/A | N/A | N/A | N/A | Replaced by a 'w' session.
7 | Y | Y | Y | Y | first 15 minutes lost |  | w19038 | N/A | N/A | N/A | N/A | N/A | Replaced by a 'w' session.
8 | Y | Y | Y | Y | MK windy |  | n9039 | 34.8 | 60 | 65 | 3 | 2 | No05(0808+019) has an H-code due to low phase-cal amplitude on S-band channels e-f and a G-code due to low fringe amplitude on X-band channel o. No07(0422-380) has a G-code due to low fringe amplitude on S-band channels d-e. No14(0823+033) has a G-code due to low fringe amplitude on S-band channels e-f. No25(1053+704) & No42(0119+115) are outliers.
9 | Y | Y | Y | Y |  |  | n9040 | 23.8 | 51 | 64 | 11 | 2
10 | N | N | N | N | canceled, MK too windy |  | n9041 | N/A | N/A | N/A | N/A | N/A | Used backup observation.
10 | Y | Y | SC | SC |  |  | n9041b | 40.3 | 57 | 58 | 1 | 0 | No14(CTA26) has 0-codes on both bands.
11 | N | N | N | N | canceled, MK unavailable |  | w19042 | N/A | N/A | N/A | N/A | N/A | MK unavailable.
11 | Y | Y | SC | SC |  |  | n9042 | 48.3 | 61 | 65 | 4 | 0 | No09(0749+540) is missing. No13(1736+324) & No20(1348+308) have a 0-code on S-band. No14(1104-445) has 0-codes on both bands.
12 | Y | Y | SC | SC |  | Y | n9043 | 63.6 | 65 | 68 | 3 | 0 | No04(1823+689), No26(1823+689), & No47(1823+689) have a 0-code on X-band. Slightly above normal formal error.
13 | Y | Y | SC | SC |  |  | n9044 | 41.9 | 59 | 66 | 6 | 1 | No02(0602+673) & No64(1100+122) have a G-code due to low fringe amplitude on X-band channel j. No08(1823+689) has a 0-code on X-band. No29(1348+308), No35(1659+399), & No55(1659+399) have a 0-code on S-band. No44(0602+673) is an outlier.
14 | N | N | N | N | canceled, MK unavailable |  | w19045 | N/A | N/A | N/A | N/A | N/A | MK unavailable.
14 | Y | Y | SC | SC | in place of W19045; PT testing L404B |  | n9045 | 54.2 | 57 | 61 | 4 | 0 | No03(1015+057) has 0-codes on both bands. No11(1357+769) & No51(1357+769) have a 0-code on S-band. No12(1308+554) has a 0-code on X-band.
15 | Y | Y | SC | SC | PT testing L404B |  | n9046 | 46.6 | 57 | 63 | 3 | 3 | No06(1100+122) & No07(0951+268) have 0-codes on both bands. No21(1357+769) has a 0-code on S-band. No36(0534-340), No59(0430+289), & No60(0442+389) are outliers.
16 | Y | Y | SC | SC |  |  | n9047 | 25.8 | 59 | 65 | 4 | 2 | No24(0415+398), No48(0759+183), & No49(0747+185) have 0-codes on both bands. No30(1149-084) has a 0-code on X-band. No16(1133-032) & No44(0415+398) are outliers.
17 | Y | Y | SC | SC |  |  | n9048 | 35.6 | 57 | 65 | 5 | 3 | No62(0454+844) is not in the database. No09(1424+366) has a 0-code on X-band, No11(1736+324) & No57(1348+308) has a 0-code on S-band. No61(1520+437) has 0-codes on both bands. No45(1034-293), No48(1145+268), & No63(0718+793) are outliers.
18 | N | N | N | N | canceled, MK unavailable |  | w19049 | N/A | N/A | N/A | N/A | N/A | MK unavailable.
18 | Y | Y | SC | SC | in place of W19049 |  | n9049 | 44 | 59 | 64 | 5 | 0 | No04(1149-084) & No05(1803+784) has 0-codes on both bands. No08(1348+308), No36(1357+769), & No44(1348+308) has a 0-code on S-band.
19 | Y | Y | SC | SC | PT 1 minor deviation |  | n9050 | 71 | 55 | 61 | 4 | 2 | Adjusted clock estimate to be based on a 2nd order polynomial fit. Lowered the overall residuals, session still had a high formal error. No09(1424+366) has a 0-code on X-band. No11(1348+308), No27(1736+324), & No55(1348+308) have a 0-code on S-band. No21(1758+388) & No60(0920+390) are outliers.
20 | N | N | N | N | canceled, MK unavailable |  | w19051 | N/A | N/A | N/A | N/A | N/A | MK unavailable.
20 | Y | Y | SC | SC | in place of W19051 |  | n9051 | 50.8 | 60 | 62 | 1 | 1 | No08(1348+308) has a 0-code on S-band. No20(1111+149) is an outlier.
21 | Y | Y | Y | Y |  |  | w19052 | N/A | N/A | N/A | N/A | N/A | Replaced by a 'w' session.
22 | Y | Y | Y | Y |  |  | n9053 | 40.5 | 57 | 61 | 3 | 1 | No15(0748+126) has a G-code due to low fringe amplitude on X-band channel j. No37(0808+019) has an H-code due to low phase-cal amplitude on S band channel e-f. No62(0256-005) has a G-code due to low fringe amplitude on S-band channel e. No46(0430+289) is an outlier.
23 | Y | Y | Y | Y |  |  | n9054 | 31 | 59 | 63 | 3 | 1 | No05(0808+019) has an H-code due to low phase-cal amplitude on S-band channels e&f and a G-code due to low fringe amplitude on X-band channel o. No17(0823+033) has a G-code due to low fringe amplitude on S-band channels e&f. No55(0338-214) has a G-code due to low fringe amplitude on X-band channel o. No12(1803+784) is an outlier.
24 | Y | Y | Y | Y | 1 minor deviation both |  | n9055 | 53.4 | 52 | 56 | 4 | 0 | No02(0206+136), No07(0534-340), No09(0641+392), & No52(0442+389) have a 0-code on X-band. No09(0641+392) also has an H-code due to low phase-cal amplitude on channels e&f.
25 | Y | Y | Y | Y | crd file error on load? |  | w19056 | N/A | N/A | N/A | N/A | N/A | Replaced by a 'w' session.
26 | Y | Y | Y | Y |  |  | n9057 | 29.6 | 60 | 63 | 3 | 0 | No47(0534-340) has a G-code due to low fringe amplitude on X-band channel o. No15(0237-027) has a G-code due to low fringe amplitude on S-band channel d. No35(0912+029) has an H-code due to low phase-cal amplitude on S-band channels e&f.
27 | Y | Y | Y | Y |  |  | n9058 | 29.6 | 63 | 64 | 1 | 0 | No64(0442+389) has a 0-code on X-band.
28 | Y | Y | Y | Y |  |  | w19059 | N/A | N/A | N/A | N/A | N/A | Replaced by a 'w' session.
Y= Yes
N= No
I= Incomplete, not yet copied