## P-Series
|  | USNO Status Report P-Series |  | July 1 to July 31, 2021
Stations: Hancock, NH; Mauna Kei, HI
Date | Project | Observed? | Notes | Interrupt? | rms (ps) | # pts | Scheduled Obs | Missing | Deselected | Outliers | Comments
1 | P21182 | Y |  |  | 40.2 | 70 | 82 | 0 | 9 | 3 | -
2 | P21183 | Y |  |  | 44.8 | 68 | 81 | 0 | 12 | 1 | -
3 | P21184 | Y | Rain at HN |  | 37.4 | 72 | 82 | 0 | 10 | 0 | -
4 | P21185 | Y | First 15 minutes bad | Y | 23.6 | 64 | 83 | 13 | 6 | 0 | Personality conflicts at both stations for first 10-15 minutes, accounting for the 13 lost scans (1815a, 1815b, 1818, 1819, 1820, 1821, 1822, 1824, 1825, 1826, 1827, 1828, 1829).
5 | P21186 | N | blocked by I series | NA | N/A | N/A | N/A | N/A | N/A | N/A | Not scheduled due to timing conflict with I21186.
6 | P21187 | Y |  |  | 44.7 | 65 | 82 | 6 | 9 | 2 | Scans 1904, 1905, 1906, 1907, 1908, 1910 are missing. Likely due to MK RDBE reboot to handle an alert.
7 | P21188 | Y | Not able to fringe check | Y | 39.2 | 63 | 84 | 16 | 4 | 1 | HN RDBE personality conflict; rebooted. Resulted in the loss of data for the first 16 scans (1815a -- 1829).
8 | P21189 | Y | Not able to fringe check |  | 40.7 | 75 | 84 | 0 | 6 | 3 | -
9 | P21190 | Y | HN possibly bad, not able to fringe check |  | 45.7 | 64 | 83 | 0 | 19 | 0 | -
10 | P21191 | Y | Not able to fringe check | Y | 28.2 | 73 | 80 | 0 | 5 | 2 | -
11 | P21192 | N | MK AZ motor burned out |  | N/A | N/A | N/A | N/A | N/A | N/A | MK azimuth motor out. Cannot observe.
12 | P21193 | N | MK AZ motor burned out |  | N/A | N/A | N/A | N/A | N/A | N/A | MK azimuth motor out. Cannot observe.
13 | P21194 | N | MK AZ motor burned out |  | N/A | N/A | N/A | N/A | N/A | N/A | MK azimuth motor out. Cannot observe.
14 | P21195 | N | MK AZ motor burned out |  | N/A | N/A | N/A | N/A | N/A | N/A | MK azimuth motor out. Cannot observe.
15 | P21196 | N | MK AZ motor burned out |  | N/A | N/A | N/A | N/A | N/A | N/A | MK azimuth motor out. Cannot observe.
16 | P21197 | N | MK AZ motor burned out |  | N/A | N/A | N/A | N/A | N/A | N/A | MK azimuth motor out. Cannot observe.
17 | P21198 | N | MK AZ motor burned out |  | N/A | N/A | N/A | N/A | N/A | N/A | MK azimuth motor out. Cannot observe.
18 | P21199 | N | MK AZ motor burned out |  | N/A | N/A | N/A | N/A | N/A | N/A | MK azimuth motor out. Cannot observe.
19 | P21200 | Y | Rain at HN | Y | 30.6 | 82 | 83 | 0 | 0 | 1 | The 2 observations of 0808+019 were deselected by the OPA control file.
20 | P21201 | Y |  | Y | 45.5 | 66 | 77 | 2 | 6 | 3 | Scans 201-1901a and 201-1901b were not recorded to the Xcube. The 3 observations of 0808+019 were deselected by the OPA control file.
21 | P21202 | Y | HN poor? | Y | 61.3 | 75 | 82 | 0 | 7 | 0 | HN, poor cable cal data and manual phase cal applied in fringing. Cable cal not applied.
22 | P21203 | Y |  |  | 43.8 | 74 | 81 | 0 | 5 | 2 | -
23 | P21204 | Y |  |  | 51.8 | 73 | 81 | 0 | 7 | 1 | -
24 | P21205 | Y |  |  | 32.5 | 74 | 83 | 0 | 8 | 1 | -
25 | P21206 | Y |  |  | 34.5 | 73 | 82 | 0 | 6 | 3 | -
26 | P21207 | Y |  |  | 86.9 | 75 | 79 | 0 | 4 | 0 | -
27 | P21208 | Y |  | Y | 42.8 | 78 | 82 | 0 | 2 | 0 | -
28 | P21209 | Y |  |  | 42.1 | 82 | 84 | 0 | 2 | 0 | -
29 | P21210 | Y |  |  | 38.9 | 67 | 81 | 0 | 12 | 2 | -
30 | P21211 | Y |  | Y | 43.6 | 66 | 78 | 0 | 10 | 2 | -
31 | P21212 | Y |  | Y | 29.4 | 66 | 80 | 1 | 10 | 3 | The first scan, 212-1815, is missing.

## Z-Series
|  | USNO Status Report Z-Series |  | July 1 to July 31, 2021
Stations: Saint Croix, VI; Hancock, NH; Owens Valley, CA; Brewster, WA; Mauna Kea HI
Date | Project | Observed? | Missing any stations? | Notes | rms (ps) | # pts | Scheduled Obs | Missing | Deselected | Outliers | Comments
1 | Z21182 | Y | MK |  | 27 | 271 | 330 | 0 | 54 | 5 | MK out with ACU issues.
7 | Z21188 | Y |  | MK possibly bad, no fringe check | 32.2 | 366 | 434 | 0 | 62 | 6 | -
9 | Z21190 | Y |  | HN possibly bad, no fringe check | 52.2 | 272 | 486 | 0 | 211 | 3 | 144 deselected for OV, 132 from the last 33 scans.
11 | Z21192 | Y | MK | MK AZ#2 motor burned out; HN possibly bad | 26 | 189 | 290 | 0 | 100 | 1 | Stats do not include the scheduled MK. Scans with source 1555+001 were omitted.
13 | Z21194 | Y | MK | MK AZ#2 motor burned out | 29.9 | 206 | 306 | 0 | 99 | 1 | MK out with AZ motor issues. Scans with source 1555+001 were omitted.
15 | Z21196 | Y | OV,MK | OV power down, MK AZ#2 motor burned out | 33.8 | 128 | 165 | 0 | 32 | 5 | BR cable cal issues. Correction turned off. MK and OV out.
17 | Z21198 | Y | OV,MK | OV dead GPS, MK AZ#2 motor burned out | 30.5 | 113 | 159 | 0 | 46 | 0 | Scans with source 1555+001 were omitted.
19 | Z21200 | Y | OV,MK | OV dead GPS, MK AZ#2 motor burned out | 51.4 | 143 | 168 | 0 | 25 | 0 | -
21 | Z21202 | Y |  |  | 47.9 | 443 | 506 | 0 | 57 | 6 | BR cable cal issues. Correction turned off. Also had a clock break at 202-08:27.
23 | Z21204 | Y |  |  | 42.7 | 384 | 460 | 4 | 63 | 9 | BR cable cal issues. Correction turned off. BR clock break at 204-0632, so deselected the 2 prior scans (8 observations) on BR baselines and didn't apply a clock break.
25 | Z21206 | Y | BR | BR EL#2 CB fault, OV missed most | 33.5 | 264 | 523 | 44 | 207 | 8 | BR had no raw data after 206-0846 due to a circuit breaker fault, accounting for 44 observations on 11 scans. OV was accidentally not included until scan 206-0844.
28 | Z21209 | Y |  |  | 40.4 | 363 | 466 | 0 | 94 | 9 | High number of 0-codes.
30 | Z21211 | Y |  | HN rain, SC possible Xcube issue | 40.9 | 355 | 476 | 0 | 117 | 4 | High number of 0-codes.