## P-Series
|  | USNO Status Report P-Series |  | Aug 01 to Aug 31, 2021
Stations: Hancock, NH; Mauna Kei, HI
Date | Project | Observed? | Notes | Interrupt? | rms (ps) | # pts | Scheduled Obs | Missing | Deselected | Outliers | Comments
1 | P21213 | Y |  | Y | 27.9 | 65 | 76 | 0 | 10 | 1 | -
2 | P21214 | Y | HN missed first 14 min | Y | 23.5 | 68 | 82 | 5 | 6 | 3 | The first 5 scans are missing (214-1815, 214-1816, 214-1817, 214-1818, 214-1819).
3 | P21215 | Y |  |  | 27.3 | 80 | 83 | 0 | 3 | 0 | HN had poor cable cal data. Cable cal not applied.
4 | P21216 | Y |  |  | 44.2 | 70 | 79 | 0 | 6 | 3 | HN had poor cable cal data. Cable cal not applied.
5 | P21217 | Y |  | Y | 40.7 | 69 | 80 | 0 | 9 | 2 | -
6 | P21218 | Y |  | Y | 39.2 | 69 | 81 | 1 | 11 | 0 | The first scan (218-1815) is missing.
7 | P21219 | Y |  | Y | 36.5 | 70 | 81 | 0 | 10 | 1 | -
8 | P21220 | Y |  | Y | 47.6 | 73 | 80 | 0 | 7 | 3 | -
9 | P21221 | Y |  |  | 34.4 | 68 | 78 | 0 | 9 | 1 | -
10 | P21222 | Y |  | Y | 36.9 | 63 | 77 | 0 | 10 | 4 | -
11 | P21223 | Y |  |  | 69.9 | 68 | 79 | 0 | 10 | 1 | -
12 | P21224 | Y |  |  | 52.7 | 79 | 83 | 0 | 2 | 0 | -
13 | P21225 | Y |  |  | 48.7 | 64 | 79 | 2 | 12 | 1 | The last two scans (225-1942 & 225-1943) are missing.
14 | P21226 | Y |  | Y | 49.6 | 68 | 80 | 0 | 11 | 1 | -
15 | P21227 | Y |  |  | 36.7 | 71 | 77 | 0 | 6 | 0 | -
16 | P21228 | Y |  |  | 39.1 | 63 | 75 | 0 | 10 | 2 | -
17 | P21229 | Y |  |  | 30.9 | 61 | 76 | 0 | 14 | 1 | -
18 | P21230 | Y | Scheduled to interrupt but CRD114 file won't run | Y* | 35.1 | 67 | 78 | 0 | 11 | 0 | -
19 | P21231 | Y | HN rain |  | 52.1 | 71 | 76 | 0 | 5 | 0 | HN Cable Cals were bad; correction turned off.
20 | P21232 | Y |  |  | 41.1 | 72 | 80 | 0 | 8 | 0 | No cable cals.
21 | P21233 | Y |  |  | 40.5 | 72 | 82 | 0 | 10 | 0 | No cable cals.
22 | P21234 | N | HN hurricane weather | Y | N/A | N/A | N/A | N/A | N/A | N/A | Not scheduled. HN out for Hurricane Henri
23 | P21235 | N | DSOC power outage |  | N/A | N/A | N/A | N/A | N/A | N/A | Not scheduled. DSOC power outage.
24 | P21236 | Y | no fringecheck run | Y | 38.4 | 61 | 76 | 0 | 14 | 1 | -
P-series for Aug 25 - 31 canceled to free up time for a late addition to the August request.

## Z-Series
|  | USNO Status Report Z-Series |  | Aug 01 to Aug 31, 2021
Stations: Saint Croix, VI; Hancock, NH; Owens Valley, CA; Brewster, WA; Mauna Kea HI
Date | Project | Observed? | Missing any stations? | Notes | rms (ps) | # pts | Scheduled Obs | Missing | Deselected | Outliers | Comments
1 | Z21213 | Y |  |  | 27.3 | 400 | 492 | 0 | 90 | 2 | Scans with source 1555+001 were omitted.
3 | Z21215 | Y |  | HN bad switched power | 46.4 | 424 | 468 | 0 | 43 | 1 | BR cable cal issues. Correction turned off.
5 | Z21217 | Y |  |  | 51 | 466 | 509 | 0 | 40 | 3 | BR cable cal issues. Correction turned off.
7 | Z21219 | Y |  |  | 27.5 | 386 | 492 | 0 | 105 | 1 | HN cable cal issues. Correction turned off.
9 | Z21221 | Y |  | OV missed first 16 min. | 38.3 | 307 | 442 | 51 | 74 | 10 | BR & HN cable cal issues. Corrections turned off. 51 observations lost due to 13 missed scans on OV in the first 15 minutes due to DBE timing errors.
11 | Z21223 | Y | OV | SC 4cm warm | 53.6 | 228 | 453 | 182 | 40 | 3 | BR & HN cable cal issues. Corrections turned off. OV did not participate, accounting for the 182 "missing" observations. SC has warm 4cm receiver.
13 | Z21225 | Y |  | OV weak fringes | 28.4 | 426 | 532 | 0 | 92 | 14 | BR & HN cable cal issues. Corrections turned off.
15 | Z21227 | Y |  | SC missed first 4 min. | 24.1 | 425 | 498 | 16 | 53 | 4 | 16 observations lost due to SC DBE1 timing errors on the first four scans.
16 | Z21228 | Y |  |  | 30.4 | 394 | 440 | 0 | 43 | 3 | No initial clock values for OV.
18 | Z21230 | Y |  | MK bad? | 30.9 | 393 | 486 | 0 | 88 | 5 | BR cable cal larger than usual swings. Correction turned off.
20 | Z21232 | Y |  |  | 28.7 | 341 | 416 | 0 | 67 | 8 | -
22 | Z21234 | Y |  | BR timing error at start | 28.9 | 442 | 512 | 12 | 56 | 2 | No cable cal data. BR missed first 3 scans due to a DBE reboot.
24 | Z21236 | Y |  | no fringecheck run | 23.6 | 401 | 459 | 0 | 52 | 6 | BR cable cal issues. Corrections turned off.
26 | Z21238 | Y |  | no fringecheck run | 26.7 | 419 | 472 | 0 | 50 | 3 | -
28 | Z21240 | Y |  | no fringecheck run | 28.4 | 323 | 455 | 59 | 72 | 1 | HN cable cal issues. Corrections turned off. OV missed first 16 minutes (15 scans) of data due to DBE timing errors, resulting in the 59 missed observations.
30 | Z21242 | Y |  | no fringecheck run | 29.4 | 381 | 496 | 0 | 112 | 3 | -